PCR Reactions

Date: _____________

| Tube | Sample Descriptions |
| --- | --- |
| 1 |  |
| 2 |  |
| 3 |  |
| 4 |  |
| 5 |  |
| 6 |  |
| 7 |  |
| 8 |  |
| 9 |  |
| 10 |  |

- Take samples and reagents out of freezer placing samples and enzyme on ice; other reagents can thaw at room temperature.  Once reagents and samples are thawed, mix and quick spin.

- Make cocktail with reaction mixture for all of your samples and a negative control.  Keep cocktail on ice.

| # Reagent | 1X (ul) | ____X (ul) |
| --- | --- | --- |
| Water | 12.4 |  |
| 10x buffer | 2.5 |  |
| DMSO | 1.0 |  |
| MgCl2 | 2.5 |  |
| nucleotides | 2.5 |  |
| Primer 1 | 1.5 |  |
| Primer 2 | 1.5 |  |
| Taq polymerase | 0.1 |  |
| # Total | 24 |  |

- Working with samples on ice, aliquot 24 ul of cocktail to each tube and then add 1 ul of sample.  Add 2 ul of water to negative control.

- Place tubes in PCR machine and run appropriate program:

## Program Name:  _____________

Starting Melting Temperature/Time: _____________

Cycle Melting Temp/Time: _______________

Annealing Temp/Time: _____________

Extension Temp/Time: _____________

Final Extensions Temp/Time: ____________